## hourly data
Period | Field | Source | Comments
2013-2014 | precipitation | El Verde | Values from 2013 seem low. Needs confirmation / replacement from another source. 2014 incomplete - needs gap filling from another source.
2010-2012 | precipitation | Bisley | Fine
2002-2009 | precipitation | East Peak, gap-filled with Sabana and Bisley | Fine
2013-2014 | relative humidity | El Verde | Values look OK. Incomplete - needs gap filling from another source.
2010-2012 | relative humidity | Bisley | Fine
2002-2009 | relative humidity | East Peak, gap-filled with Sabana and Bisley | Fine
2013-2014 | solar radiation | El Verde | In W/m2, values look OK. Incomplete - needs gap filling from another source.
2010-2012 | solar radiation | East Peak | Dataset says it's PAR but values are not in the correct range - maxes are too high. Data is incomplete. Tentatively using this data as total shortwave for now.
2002-2009 | solar radiation | East Peak | Values look OK for PAR. Some gaps that need filling from another source.
2002-2013 | solar radiation | Bisley | "Total rad Kwatts m": the values are not consistent with total radiation in KW/m. "Total PFD protones" and "Instan pfd": we cannot use data based on photons. "Instan rad": dataset documentation said this was incoming shortwave in W/m2, but the values are not consistent with that. None of this data is usable without corrected documentation.
2002-2009 | solar radiation | Sabana | "Total Inrr": the values are not consistent with total radiation in W/m2. Documentation not available for other columns, is inconsistent with values, or is not clear. None of this data is usable without corrected documentation.
2002-2009 | solar radiation | El Verde | "SOLARRAD(WATTS_M2)": the values are not consistent with total radiation in W/m2 (too small). Documentation not available for other columns, is inconsistent with values, or is not clear. None of this data is usable without corrected documentation.
2013-2014 | temperature | El Verde | Values look OK. Incomplete - needs gap filling from another source.
2010-2012 | temperature | Bisley | Fine
2002-2009 | temperature | East Peak, gap-filled with Sabana and Bisley | Fine
2013-2014 | wind direction | El Verde (2013-2014-1h-final.xlsx; missing in most recent file) | Fine
2010-2012 | wind direction | Bisley | Fine
2002-2009 | wind direction | East Peak, gap-filled with Sabana and Bisley | Fine
2013-2014 | wind speed | El Verde (2013-2014-1h-final.xlsx; missing in most recent file) | Suspicious values. In 2013, on days 350 - 354, wind speed climbs steadily to top out at 171 m/s. This happens again on days 23 - 33 in 2014, when it tops out at 258 m/s. Needs correction / replacement from another source.
2012 | wind speed | Bisley | Suspicious values. In 2012, on day 339 at 10:00, wind speed suddenly jumps to 310.5 m/s and remains very high for several days.
2010-2011 | wind speed | Bisley | Values look OK. Incomplete - needs gap filling from another source.
2002-2009 | wind speed | East Peak, gap-filled with Sabana and Bisley | Fine